MIME-version: 1.0

Content-Type: multipart/related;

boundary="----=_NextPart_000_0076_01C29953.BE473C30";

type="text/html"

X-MimeOLE: Produced By Microsoft MimeOLE V6.00.2800.1106

This is a multi-part message in MIME format.

------=_NextPart_000_0076_01C29953.BE473C30

Content-Type: text/html;

Content-Transfer-Encoding: quoted-printable

Content-Location: file:///C:/Users/yueli/AppData/Local/Temp/~tmp{abaf36da-5fd5-40f6-97c1-404e1d06548a}133252.TMP.html

<html xmlns:o=3D"urn:schemas-microsoft-com:office:office" xmlns:w=3D"urn:schemas-microsoft-com:office:word" xmlns:dt=3D"uuid:C2F41010-65B3-11d1-A29F-00AA00C14882" xmlns=3D"http://www.w3.org/TR/REC-html40"><head><meta http-equiv=3DContent-Type  content=3D"text/html; charset=3Dutf-8" ><meta name=3DProgId  content=3DWord.Document ><meta name=3DGenerator  content=3D"Microsoft Word 14" ><meta name=3DOriginator  content=3D"Microsoft Word 14" ><title></title><!--[if gte mso 9]><xml><o:DocumentProperties><o:Author>yueli</o:Author><o:LastAuthor>阿岳爱大猫</o:LastAuthor><o:Revision>1</o:Revision><o:Pages>5</o:Pages><o:Characters>11413</o:Characters><o:Lines>1</o:Lines><o:Paragraphs>1</o:Paragraphs></o:DocumentProperties><o:CustomDocumentProperties><o:KSOTemplateDocerSaveRecord dt:dt=3D"string" >eyJoZGlkIjoiMTVhM2E2OWZmMGQ3NWRiNTg0MzNiMTk1ZjIwZWM2ZmMiLCJ1c2VySWQiOiI5MjMxNTMxOTMifQ=3D=3D</o:KSOTemplateDocerSaveRecord><o:KSOProductBuildVer dt:dt=3D"string" >2052-12.1.0.19770</o:KSOProductBuildVer><o:ICV dt:dt=3D"string" >5A4B2061D37A4C09B99714BA9417B1B1_12</o:ICV></o:CustomDocumentProperties></xml><![endif]--><!--[if gte mso 9]><xml><o:OfficeDocumentSettings></o:OfficeDocumentSettings></xml><![endif]--><!--[if gte mso 9]><xml><w:WordDocument><w:BrowserLevel>MicrosoftInternetExplorer4</w:BrowserLevel><w:DisplayHorizontalDrawingGridEvery>0</w:DisplayHorizontalDrawingGridEvery><w:DisplayVerticalDrawingGridEvery>2</w:DisplayVerticalDrawingGridEvery><w:DocumentKind>DocumentNotSpecified</w:DocumentKind><w:DrawingGridVerticalSpacing>7.8 磅</w:DrawingGridVerticalSpacing><w:View>Web</w:View><w:Compatibility><w:UseFELayout/></w:Compatibility><w:Zoom>0</w:Zoom></w:WordDocument></xml><![endif]--><!--[if gte mso 9]><xml><w:LatentStyles DefLockedState=3D"false"  DefUnhideWhenUsed=3D"true"  DefSemiHidden=3D"true"  DefQFormat=3D"false"  DefPriority=3D"99"  LatentStyleCount=3D"260" >

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"Normal" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"heading 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 7" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 8" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"heading 9" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 7" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 8" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index 9" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 7" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 8" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toc 9" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Normal Indent" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"footnote text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"annotation text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"header" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"footer" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"index heading" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  QFormat=3D"true"  Name=3D"caption" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"table of figures" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"envelope address" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"envelope return" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"footnote reference" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"annotation reference" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"line number" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"page number" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"endnote reference" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"endnote text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"table of authorities" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"macro" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"toa heading" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Bullet" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Number" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Bullet 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Bullet 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Bullet 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Bullet 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Number 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Number 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Number 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Number 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"Title" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Closing" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Signature" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  UnhideWhenUsed=3D"false"  Name=3D"Default Paragraph Font" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text Indent" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Continue" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Continue 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Continue 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Continue 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"List Continue 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Message Header" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"Subtitle" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Salutation" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Date" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text First Indent" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text First Indent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Note Heading" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text Indent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Body Text Indent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Block Text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Hyperlink" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"FollowedHyperlink" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"Strong" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  QFormat=3D"true"  Name=3D"Emphasis" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Document Map" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Plain Text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"E-mail Signature" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Normal (Web)" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Acronym" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Address" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Cite" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Code" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Definition" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Keyboard" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Preformatted" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Sample" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Typewriter" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"HTML Variable" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  UnhideWhenUsed=3D"false"  Name=3D"Normal Table" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"annotation subject" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"No List" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"1 / a / i" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"1 / 1.1 / 1.1.1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"Article / Section" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Simple 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Simple 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Simple 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Classic 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Classic 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Classic 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Classic 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Colorful 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Colorful 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Colorful 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Columns 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Columns 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Columns 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Columns 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Columns 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 7" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid 8" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 7" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table List 8" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table 3D effects 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table 3D effects 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table 3D effects 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Contemporary" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Elegant" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Professional" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Subtle 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Subtle 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Web 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Web 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Web 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Balloon Text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Grid" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"0"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Table Theme" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"Placeholder Text" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"No Spacing" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"List Paragraph" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"Quote" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"99"  SemiHidden=3D"false"  Name=3D"Intense Quote" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 1" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 2" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 3" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 4" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 5" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"60"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Shading Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"61"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light List Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"62"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Light Grid Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"63"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 1 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"64"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Shading 2 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"65"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 1 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"66"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium List 2 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"67"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 1 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"68"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 2 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"69"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Medium Grid 3 Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"70"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Dark List Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"71"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Shading Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"72"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful List Accent 6" ></w:LsdException>

=20<w:LsdException Locked=3D"false"  Priority=3D"73"  SemiHidden=3D"false"  UnhideWhenUsed=3D"false"  Name=3D"Colorful Grid Accent 6" ></w:LsdException>

=20</w:LatentStyles></xml><![endif]--><style>

=20@font-face{

=20font-family:"Times New Roman";

=20}

=20

=20@font-face{

=20font-family:"宋体";

=20}

=20

=20@font-face{

=20font-family:"Wingdings";

=20}

=20

=20p.MsoNormal{

=20mso-style-name:正文;

=20mso-style-parent:"";

=20margin:0pt;

=20margin-bottom:.0001pt;

=20text-align:left;

=20font-family:宋体;

=20font-size:12.0000pt;

=20}

=20

=20h1{

=20mso-style-name:"标题 1";

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:24.0000pt;

=20mso-font-kerning:22.0000pt;

=20}

=20

=20h2{

=20mso-style-name:"标题 2";

=20mso-style-noshow:yes;

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:18.0000pt;

=20}

=20

=20h3{

=20mso-style-name:"标题 3";

=20mso-style-noshow:yes;

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:13.5000pt;

=20}

=20

=20h4{

=20mso-style-name:"标题 4";

=20mso-style-noshow:yes;

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:12.0000pt;

=20}

=20

=20h5{

=20mso-style-name:"标题 5";

=20mso-style-noshow:yes;

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:10.0000pt;

=20}

=20

=20h6{

=20mso-style-name:"标题 6";

=20mso-style-noshow:yes;

=20mso-style-next:正文;

=20margin-top:5.0000pt;

=20margin-bottom:5.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-weight:bold;

=20font-size:7.5000pt;

=20}

=20

=20span.10{

=20font-family:'Times New Roman';

=20}

=20

=20p.pre{

=20mso-style-name:"HTML 预设格式";

=20margin:0pt;

=20margin-bottom:.0001pt;

=20text-align:left;

=20font-family:宋体;

=20font-size:12.0000pt;

=20}

=20

=20p.p{

=20mso-style-name:"普通\(网站\)";

=20margin-top:5.0000pt;

=20margin-right:0.0000pt;

=20margin-bottom:5.0000pt;

=20margin-left:0.0000pt;

=20mso-margin-top-alt:auto;

=20mso-margin-bottom-alt:auto;

=20text-align:left;

=20font-family:宋体;

=20font-size:12.0000pt;

=20}

=20

=20span.msoIns{

=20mso-style-type:export-only;

=20mso-style-name:"";

=20text-decoration:underline;

=20text-underline:single;

=20color:blue;

=20}

=20

=20span.msoDel{

=20mso-style-type:export-only;

=20mso-style-name:"";

=20text-decoration:line-through;

=20color:red;

=20}

=20

=20table.MsoNormalTable{

=20mso-style-name:普通表格;

=20mso-style-parent:"";

=20mso-style-noshow:yes;

=20mso-tstyle-rowband-size:0;

=20mso-tstyle-colband-size:0;

=20mso-padding-alt:0.0000pt 5.4000pt 0.0000pt 5.4000pt;

=20mso-para-margin:0pt;

=20mso-para-margin-bottom:.0001pt;

=20mso-pagination:widow-orphan;

=20font-family:'Times New Roman';

=20font-size:10.0000pt;

=20mso-ansi-language:#0400;

=20mso-fareast-language:#0400;

=20mso-bidi-language:#0400;

=20}

=20@page{mso-page-border-surround-header:no;

=20	mso-page-border-surround-footer:no;}@page Section0{

=20size:595.3000pt 841.9500pt;

=20mso-header-margin:42.5500pt;

=20mso-footer-margin:49.6000pt;

=20}

=20div.Section0{page:Section0;}</style></head><body style=3D"tab-interval:21pt;" ><!--StartFragment--><div class=3D"Section0" ><h1 align=3Dcenter  style=3D"mso-pagination:widow-orphan;text-align:center;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:24.0000pt;mso-font-kerning:22.0000pt;" ><font face=3D"宋体" >楚雄禄丰比米农牧科技（禄丰）有限公司</font><font face=3D"宋体" >“8&#183;14”较大中毒和窒息事故调查报告</font></span></b><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:24.0000pt;mso-font-kerning:22.0000pt;" ><o:p></o:p></span></b></h1><p class=3DMsoNormal  style=3D"margin-bottom:12.0000pt;mso-pagination:widow-orphan;text-align:left;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p>&nbsp;</o:p></span></p><p class=3Dp  style=3D"margin-top:5.0000pt;margin-right:0.0000pt;margin-bottom:5.0000pt;

=20margin-left:0.0000pt;mso-margin-top-alt:auto;mso-margin-bottom-alt:auto;

=20mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2023年12月19日，楚雄州人民政府对《楚雄禄丰比米农牧科技（禄丰）有限公司“8&#183;14”较大中毒和窒息事故调查报告》已批复，现予以公布。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >楚雄禄丰比米农牧科技（禄丰）有限公司</font><font face=3D"宋体" >“8&#183;14”较大中毒和窒息事故调查报告</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2023年8月14日17时40分许，楚雄州禄丰市仁兴镇银沙村委会比米农牧科技（禄丰）有限公司养猪场员工在排污作业时发生气体中毒和窒息事故，造成3人死亡，直接经济损失约XXX万元。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故发生后，楚雄州委、州人民政府高度重视，州委书记，州委副书记、州长，州委常委、常务副州长先后对事故作出批示。禄丰市委书记，市委副书记、市人民政府市长，州应急管理局、州农业农村局分管副局长带领有关人员先后赶赴事故现场，指导事故应急救援和善后处置工作。禄丰市委、市人民政府迅速成立由市委书记，市委副书记、市人民政府市长为双组长，其他领导为成员的事故应急处置领导小组，全力开展事故应急救援和善后处置工作。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >依据《中华人民共和国安全生产法》《生产安全事故报告和调查处理条例》等有关法律法规规定，</font>8月22日，州人民政府成立了由州安委会副主任、州应急管理局局长任组长，州农业农村局局长任常务副组长，州安委办副主任、州应急管理局副局长，州农业农村局副局长，州总工会副主席，州委统战部副部长，州公安局治安支队支队长，禄丰市常务副市长任副组长，州农业农村局、州公安局、州应急管理局、州总工会、州委统战部等部门有关人员为成员的楚雄禄丰比米农牧科技（禄丰）有限公司“8&#183;14”较大中毒和窒息事故调查组（以下简称事故调查组），下设直接原因调查组、间接原因调查组、综合组、事故调查协调组开展事故调查工作。邀请州纪委州监委介入事故调查，州检察院派员参加事故调查。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故调查组遵照</font><font face=3D"宋体" >“科学严谨、依法依规、实事求是、注重实效”和“四不放过”的原则，通过现场勘验、技术鉴定、调查取证、综合分析，查明了事故发生的经过、原因、人员伤亡和直接经济损失情况，认定了事故性质和责任，提出对有关责任单位和责任人员处理建议及事故整改和防范措施。经调查组调查认定，楚雄禄丰比米农牧科技（禄丰）有限公司“8&#183;14”较大中毒和窒息事故是一起因公司作业人员在排污管检查井作业前未进行有限空间作业审批，未采取通风、气体检测和个体防护等措施违规冒险作业。发生事故后，作业人员未采取突发事故应急处置措施，盲目进入排污管检查井内施救，相继发生3人中毒和窒息的较大生产安全责任事故。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >一、事故基本情况</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）事故发生单位概况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >比米农牧科技（禄丰）有限公司成立于</font>2019年10月10日，住所：云南省楚雄州禄丰市仁兴镇XXX村委会XX路口，类型：有限责任公司（台港澳与境内合资），统一社会信用代码91532300MA6P4XXXX，注册资本XXX万元，法定代表人古XX。经营范围：生猪养殖与销售；种猪养殖与销售；有机肥生产与销售；猪肉批发；饲料加工；饲料销售（依法须经批准的项目，经相关部门批准后方可开展经营活动）2021年11月11日，比米农牧科技（禄丰）有限公司取得禄丰市行政审批局核发的《动物防疫条件合格证》（滇禄）动防合字第2100XX号，代码编号53230210121XXXX。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >比米农牧（禄丰）科技有限公司生产基地龙腾生猪养殖场位于禄丰市仁兴镇</font>XX村委会XX村XXX。龙腾生猪养殖场占地190亩，分外场区和内场区两个区域，其中，内场区为生猪养殖区，经调查2023年8月14日当日生猪存栏XXXX头，为水泡粪养殖。内场分为生产区、生产管理区、生活区三个分区，三个分区的生物安全技术措施执行到位。生产区共有猪舍X栋，呈三排式排列，每栋猪舍长XXm，宽XXm，栋间距纵向Xm，横向相通，采用自动投喂料系统，猪咬合式自动饮水，猪床距猪舍吊顶面XXm，猪床面下方设置水泡粪池，池深XXm，底面呈中间高两端低，分栋猪舍两端设置粪液排泄闸口。猪舍为双列式，中间走道宽Xm，每列XX栏，每栏占地约XX㎡，X栋猪舍猪栏面积合计XXXX㎡，头均养殖面积约为0.73㎡，未达到《规模猪场建设》GBT17824.1-2008规定的猪只饲养密度</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[1]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >。饲养方式采用全进全出式，每两栋为一个养殖批次，养殖生猪品种为</font>XXX配套系，猪源地为XX。事故当日存栏生猪体重范围为60-120kg，平均体重约为90kg。生产区工作人员共9人，主要从事养殖等工作，粪液排除闸口管理由内场人员负责。外场区与内场区为砖</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >墙隔离，外场区主要进行粪污收集与处理。外场区的主排污管分别与内场区</font>X栋猪舍两侧设置的粪污排污管（暗管）连通，主排污管依山而建，呈上高下低、中间平缓布局，主排污管长约100m，设置有1、2、3号三个检查井，事故发生地点是主排污管2号检查井，2号检查井位于上山方向路边左侧的平缓地段，主要作用为清掏排污管堵塞污物，以确保排污顺畅。内场区水泡粪池粪液每间隔15天由粪液排除闸口排放一次，单次排放量约150m&#179;，依靠粪液流体动力和主排污管落差进行排污，粪液经主排污管流至粪污集中处理区，经固液分离等处理工艺后，再进行粪污资源化利用。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）事故发生单位安全管理情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >经调查，比米农牧（禄丰）科技有限公司法定代表人古</font>XX，</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >[1]《规模猪场建设》GBT17824.1-2008，猪只饲养密度:生长育肥猪每头占床面积为0.8-1.2㎡/头。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >台湾居民，受疫情影响长期未在比米农牧科技（禄丰）有限公司，</font>2023年4月，公司任命李X担任比米农牧科技（禄丰）有限公司总经理，全权负责比米农牧科技（禄丰）有限公司生产、经营及安全生产管理工作。公司安全管理机构不健全，主要负责人和安全生产管理人员不具备与本单位所从事的生产经营活动相应的安全生产知识和管理能力。专职安全管理人员2022年离职后，公司专职安全管理人员未得到落实；公司未建立并落实安全风险分级管控和隐患排查治理双重预防机制，未开展排污风险隐患辨识。未按照规定在主排污管检查井口设置安全防护装置，无安全警示标识，未设置危险因素风险辨识和有限空间安全风险告知牌，未建立排污管检查井作业操作规程。2023年以来，公司对从业人员安全生产宣传、教育、培训不到位，作业人员对粪污长期存于排污管中发酵产生有毒有害气体的危险有害因素和可能发生事故的基本知识严重缺乏，岗位风险防范能力和判断能力较差。公司内部安全生产检查、管理处于“真空、失管”状态，未制止作业人员未佩戴劳动安全防护用具进入有毒有害有限空间违章作业行为。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）事故发生经过</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2023年8月14日16时20分许，比米农牧科技（禄丰）有限公司员工曲XX、刘X、汤XX 3人到龙腾生猪养殖场外场区进行主排污管道通堵作业，17时左右三人从外场区出来寻找通堵工具，17时20分许，公司维修工柳XX看见刘X从厂区大门进入外场区，问其要去做什么，刘X说污水排水井排出来的水小，要去检查一下看看哪里堵着，紧接着曲XX、汤XX一起进来，三人就进入外场区。17时40分许，食堂工作人员送饭到外场区大门，但曲XX、刘X和汤XX 3人一直不来吃饭，18时许，柳XX进入外场区寻找，发现刘X、汤XX和曲XX身体重叠躺在外场区主排污管道2号检修井内（刘X在检修井内的上面，汤XX在检修井内的中间，曲XX在检修井内的最下面），柳XX立即在现场通过手机微信视频向内场区生产主管陈XX汇报情况，并拨打120和110进行报警求救。公司紧急组织员工进行应急救援，三人分别被拉出到井口地面，禄丰市罗次中心卫生院、仁兴卫生院医护人员前后到达现场开展紧急抢救，刘X、曲XX 2人死亡，汤XX送昆明医科大学第二附属医院抢救。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（四）事故现场情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1. 天气状况</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：根据禄丰市气象部门天气情况报告，</font>2023年8月14日8时至8月15日8时，禄丰市仁兴镇无降水，平均风速0.8m/s，极大风速4.0m/s，风向为东风，无雷电活动。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2. 事故发生地点情况</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：事故发生地点为公司龙腾生猪养殖场外场区的主排污管</font>2号检查井，事故发生时井口为开放式，无任何安全防护设施和安全警示标识，井口内径长1.2m，宽1m，井深2.5m，井底排污管距井底约20cm，排污管内径400mm。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（五）人员死亡和直接经济损失情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故造成</font>3人死亡。根据《企业职工伤亡事故经济损失统计标准》，经调查核定该起事故直接经济损失约XXX万元。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >二、事故应急处置及评估情况</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）事故信息报送及响应情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >8月14日18时许，维修工柳XX发现发生事故，立即用手机微信视频向内场区生产主管陈XX报告，并拨打了110、120电话报警抢救。生产主管陈XX、公司总经理李X等人先后到达现场组织救援，并将事故情况上报了仁兴镇人民政府。18时50分许，救护车、警务车先后到达现场，进行人员抢救和维持现场秩序。19时许，仁兴镇人民政府镇长带领有关人员赶到事故现场开展救援处置，同时，向禄丰市政府总值班室、市应急管理局报告。接到事故报告后，禄丰市应急管理局局长带领相关人员赶到事故现场开展事故应急救援处置。22时05分，禄丰市应急管理局将事故造成2人死亡1人受伤情况向楚雄州应急管理局指挥中心进行书面报告。禄丰市政府总值班室向州政府总值班室报告。22时55分，楚雄州应急管理局向州委、州政府报告。8月15日9时07分，接到汤XX经抢救无效死亡的报告后，楚雄州应急管理局立即向省应急管理厅报告，分管领导带领有关人员赶到事故现场指导事故善后处置工作。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故现场应急处置情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故发生后，公司紧急组织员工进行事故应急救援，公司生产主管陈</font>XX配 戴防毒面具进入检修井内用绳子捆绑刘X、汤XX和曲XX三人，其他员工将三人分别拉上井口地面，并开展人工呼吸等相应抢救措施。仁兴镇人民政府镇长接到报告后，立即带领分管副镇长、综治办、派出所、卫生院等相关部门人员赶到现场开展应急救援处置工作。罗次中心卫生院、仁兴卫生院医护人员前后到达现场开展紧急抢救，经现场抢救后，医生诊断曲XX、刘X 2人心跳呼吸停止，无生命体征，汤XX深度昏迷，立即将汤XX送往昆明医科大学第二附属医院抢救，事故当天22时18分，曲XX、刘X的遗体送至禄丰市殡仪馆保存。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）医疗救治和善后情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >当天</font>20时23分，汤XX被送至昆明医科大学第二附属医院进行抢救，8月15日凌晨3时35分，汤XX转入ICU病房观察，7时13分，抢救无效死亡。接到事故报告后，楚雄州委、州政府高度重视，州委书记、州长、常务副州长分别作出批示，要求稳妥做好受伤人员抢救及死者善后处置和事故原因调查工作。禄丰市成立事故应急处置领导工作组，采取有力有效措施，依法依规，迅速妥善做好事故善后处置工作。8月18日，比米农牧科技（禄丰）有限公司与三家死者家属协商达成赔偿协议，签订了《调解协议书》进行了赔偿，事故应急处置工作有力、平稳有序。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（四）事故应急处置评估情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故发生后，楚雄州委、州政府高度重视，州、市党委政府和相关部门行动迅速、分工协作、科学处置，死者家属得到稳妥有效安抚，事故现场管控有力，善后处置工作依法依规按政策程序开展，未出现新伤亡情况及影响社会稳定和舆论舆情问题，楚雄禄丰比米农牧科技（禄丰）有限公司</font><font face=3D"宋体" >“8&#183;14”较大中毒和窒息事故应急救援处置及时高效。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >三、事故原因分析</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）直接原因分析</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >1.曲XX、刘X、汤XX3名作业人员未严格落实岗位安全责任，不遵守本单位的安全生产规章制度和操作规程，安全意识淡薄，在排污管检查井作业前未进行有限空间作业审批，未采取通风、气体检测和佩戴、使用劳动防护用品措施违规冒险作业，造成事故发生。发生事故后，未能正确认识排污管检查井下有毒有害气体危险因素，未采取突发事故应急处置的措施，盲目进入排污管检查井内施救，相继发生中毒和窒息，造成事故扩大。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2.比米农牧科技（禄丰）有限公司养殖区域饲养密度大</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[1]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，舍内温度较高，粪液产生量较大，猪舍水泡粪池排污后，粪液经主排污管由地势较高（内场区）流向粪污收集无害化处理区（外场区），当流经平缓地段（</font>1-3号检查井区域）时流速变缓，导致主排污管内粪液淤积，产生有毒有害气体，源源不断的在检查井内聚集，形成有毒有害气体有限空间。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）事故相关检验检测和鉴定情况</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故调查组委托具有相应资质的云南华晨职业卫生服务有限公司对比米农牧（禄丰）科技有限公司生产基地龙腾生猪养殖场外场区主排污管</font>2号检查井内气体进行检测。云南华晨职业卫生服务有限公司技术人员采用大气采样器（盐城市紫光电子仪器有限公司TWA-500YNHCCY1-25）、粉尘采样器（盐城市紫光电子仪器有限公司ZGF-3 YNHCCY3-13）对2号检查井内静态（2#粪污管道检修井自然逸散挥发状态）和动态（模拟事故发生当时作业人员的搅动操作状态）状态时进行气体取样检测。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >表</font>1 2#粪污管道检修井检测结果危险性分析表</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><table class=3DMsoNormalTable  border=3D1  cellspacing=3D0  style=3D"border-collapse:collapse;margin-left:4.6500pt;border:none;

=20mso-border-left-alt:0.7500pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;mso-border-insideh:0.7500pt outset windowtext;mso-border-insidev:0.7500pt outset windowtext;

=20mso-padding-alt:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;" ><tr><td width=3D40  valign=3Dcenter  rowspan=3D2  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >序号</font></span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D2  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >中文名</font></span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D2  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >CASNO</span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D149  valign=3Dcenter  colspan=3D3  style=3D"width:55.9000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >OELs mg/m</span></b><b><sup><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >3</span></sup></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >采样</font></span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >状态</font></span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  rowspan=3D2  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >现场实测值</font>(mg/m3)</span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D2  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >有限空间作业判定限值</font>mg/m</span></b><b><sup><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >3</span></sup></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D2  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:1.0000pt outset windowtext;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >临界不良健康效应</font></span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D41  valign=3Dcenter  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >MAC</span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >PC-TWA</span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"font-family:宋体;font-weight:bold;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >PC-STEL</span></b><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >硫化氢</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7783-06-4</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >10</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >4.79</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >10</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dtop  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >神经毒性；强烈黏膜刺激（剧毒）</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >5.43</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >60.80</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >70.36</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氯化氢</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7647-01-0</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7.5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.81</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7.5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >上呼吸道刺激</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1.62</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >3.34</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2.74</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >3</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氰化物</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >57-12-5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.22</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >上呼吸道刺激；头痛；恶心；甲状腺效应（剧毒）</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.29</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.44</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.38</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >4</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氨</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7664-41-7</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >20</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >30</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >16.93</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >30</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >眼和上呼吸道刺激</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >12.98</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >57.69</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >80.15</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >甲醛</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >50-00-0</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.16</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.5</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >上呼吸道和眼刺激</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.23</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.29</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.33</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >苯</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >71-43-2</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >3</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>0.6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >10</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >头晕、头痛、意识障碍；全血细胞减少；再障；</font> <font face=3D"宋体" >白血病</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>0.6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>0.6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>0.6</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >甲苯</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >108-88-3</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >50</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >100</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >100</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >麻醉作用；皮肤黏膜刺激</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >8</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >二甲苯</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1330-20-7;</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >95-47-6;</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >108-38-3</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >50</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >100</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >100</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >呼吸道和眼刺激；中枢神经系统损害</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >＜</font>1</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D4  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >9</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D4  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氟化物</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D4  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >7664-39-3</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D4  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D4  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D4  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >&lt;0.014</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D4  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D4  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >眼和上呼吸道刺激；骨损害；氟中毒</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >&lt;0.014</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D2  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.03</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.04</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D2  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >10</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D2  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >一氧化碳</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D2  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >10102-43-9</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D2  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >20</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D2  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D2  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.0</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D2  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >30</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D2  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >碳氧血红蛋白血症</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >31.0</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D40  valign=3Dcenter  rowspan=3D6  style=3D"width:15.0000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >11</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D73  valign=3Dcenter  rowspan=3D6  style=3D"width:27.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >甲烷</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D113  valign=3Dcenter  rowspan=3D6  style=3D"width:42.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >74-82-8</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D41  valign=3Dcenter  rowspan=3D6  style=3D"width:15.4000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D52  valign=3Dcenter  rowspan=3D6  style=3D"width:19.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D55  valign=3Dcenter  rowspan=3D6  style=3D"width:20.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D59  valign=3Dcenter  rowspan=3D3  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >静态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.00069%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D83  valign=3Dcenter  rowspan=3D6  style=3D"width:31.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >-</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D108  valign=3Dcenter  rowspan=3D6  style=3D"width:40.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >单纯性窒息性气体</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.00060%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.0010%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D59  valign=3Dcenter  rowspan=3D3  style=3D"width:22.1500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:none;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >动态</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.00017%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.00053%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D95  valign=3Dcenter  style=3D"width:35.6500pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" >0.0011%</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr><tr><td width=3D724  valign=3Dtop  colspan=3D10  style=3D"width:271.5000pt;padding:0.7500pt 0.7500pt 0.7500pt 0.7500pt ;border-left:1.0000pt outset windowtext;

=20mso-border-left-alt:0.7500pt outset windowtext;border-right:1.0000pt outset windowtext;mso-border-right-alt:0.7500pt outset windowtext;

=20border-top:none;mso-border-top-alt:0.7500pt outset windowtext;border-bottom:1.0000pt outset windowtext;

=20mso-border-bottom-alt:0.7500pt outset windowtext;" ><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >备注：硫化氢的最低检出浓度为</font>0.53 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>7.5L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氯化氢的最低检出浓度为</font>0.5mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>7.5L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氰化物的最低检出浓度为</font>0.02mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>5L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氨的最低检出浓度为</font>0.13mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>7.5L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >甲醛的最低定量浓度为</font>0.07mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>3L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >苯系物最低检出浓度：苯：</font>0.6 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，甲苯：</font>1 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，乙苯：</font>1 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，二甲苯：</font>3 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，以采集</font>1.5 L空气样品计。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >氟化物的最低检出浓度为</font>0.014 mg/m</span><sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;

=20vertical-align:super;" >3</span></sup><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（以采集</font>75L空气样品计）。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >一氧化碳检出限为</font>0.1mg/m3。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >甲烷为委托检测项目。</font></span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >表中：</font>MAC为最高容许浓度；PC-TWA为时间加权平均容许浓度；PC-STEL为短时间接触容许浓度。</span><span style=3D"font-family:宋体;font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></td></tr></table><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >根据云南华晨职业卫生服务有限公司《工作场所职业病危害因素检测报告》（</font>YNHC-ZW-122-2023）：当在静态时，检查井内没有检测出超标项目；当在动态时，检查井内检测出硫化氢70.36mg/m</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >3</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，超出</font>MAC最高容许浓度7.0倍；氨80.15mg/m</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >3</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，超出</font>PC-STEL为短时间接触容许浓度2.7倍；一氧化碳31.0mg/m</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >3</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，超出</font>MAC最高容许浓度1.6倍；氯化氢、氰化物、甲醛、苯系物、氟化物、甲烷均未超标。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）间接原因分析</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >1.比米农牧科技（禄丰）有限公司安全生产主体责任落实不到位。公司未建立健全落实本单位全员安全生产责任制，主要负责人和安全生产管理人员不具备与本单位所从事的生产经营活动相应的安全生产知识和管理能力。未建立并落实安全风险分级管控和生产安全事故隐患排查治理制度。未按照《禄丰市规模养殖场（户）安全生产责任书》</span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[2]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >规定开展粪污处理安全排查，排污管检查井口未安装防护设施和安全警示标识，未建立排污管检查井安全技术规范。</font>2023年以来，公司对从业人员安全生产宣传、教育、培训不到位。未教育和督促从业人员严格执行本单位的安全生产规章制度和安全操作规程，并向从业人员告知作业场所和工作岗位的危险因素、防范措施以及事故应急措施，作业人员未佩戴劳动安全防护用具进入有毒有害有限空间违章作业，盲目施救，导致事故发生和扩大。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2. 比米农牧科技（禄丰）有限公司未将养殖场排污管项目安全设施纳入主体工程“三同时”中。排污管依照现场地形在平缓段设置铺设，粪污在平缓段设置的排污管内流速变慢，易造成排污管粪污淤积堵塞，排污管设计、设置存在缺陷。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >四、有关责任单位存在的主要问题</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）事故单位</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >比米农牧科技（禄丰）有限公司安全生产主体责任落实不到位。公司未建立健全落实本单位全员安全生产责任制，主要负责人和安全生产管理人员不具备与本单位所从事的生产经营活动相应的安全生产知识和管理能力。未建立安全风险分级管控制度，未建立落实生产安全事故隐患排查治理制度</font></span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[3]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >。未按照《禄丰市规模养殖场（户）安全生产责任书》</font></span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[2]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >规定开展粪污处理安全排查，排污管检查井口未安装防护设施和安全警示标识，未建立排污管检查井安全技术规范。</font>2023年以来，公司对从业人员安全生产宣传、教育、培训不到位。未教育和督促从业人员严格执行本</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >[2]《禄丰市规模养殖场（户）安全生产责任书》：三、乡镇养殖企业（户）责任：（四）加强养殖企业（户）自身安全生产隐患排查。畜禽规模养殖场（户）负责人是本单位安全生产第一责任人，对本养殖企业安全生产工作全面负责。排查关键环节、重点点位，指导、检查、监督落实安全生产管理主体责任，防范本养殖场所和养殖过程中各类安全事故的发生。2.粪污处理安全排查。排查本养殖企业的粪污处理设施是否张贴安全生产规范。排查是否对从业人员开展安全生产教育培训。排查粪污收集池、储粪池建设是否符合安全技术规范，出料口是否安装防护设施和警示标识情况。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >单位的安全生产规章制度和安全操作规程，并向从业人员告知作业场所和工作岗位的危险因素、防范措施以及事故应急措施</font></span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[3]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >，作业人员未佩戴劳动安全防护用具进入有毒有害有限空间违章冒险作业，盲目施救，导致事故发生和扩大。比米农牧科技（禄丰）有限公司对该事故负有主要责任。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）有关监管部门</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市农业农村局履行农业行业安全生产监督管理职责不到位。落实《楚雄州农业行业安全生产畜牧兽医专项行动实施方案》</font></span><sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;vertical-align:super;" >[4]</span></sup><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >工作不力，存在重部署、轻落实，对养殖场生产过程中的粪污处理设施安全防范和隐患排查治理工作不到位，整治大型养殖企业安全风险隐患存在较大漏洞和薄弱环节。禄丰市农业农村局对</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >[3]《中华人民共和国安全生产法》</span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第二十一条</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位的主要负责人对本单位安全生产工作负有下列职责</font>:</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）建立健全并落实本单位全员安全生产责任制，加强安全生产标准化建设。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第二十二条第一款</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位的全员安全生产责任制应当明确各岗位的责任人员、责任范围和考核标准等内容。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第二十七条第一款</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位的主要负责人和安全生产管理人员必须具备与本单位所从事的生产经营活动相应的安全生产知识和管理能力。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第二十八条第一款</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位应当对从业人员进行安全生产教育和培训，保证从业人员具备必要的安全生产知识，熟悉有关的安全生产规章制度和安全操作规程，掌握本岗位的安全操作技能，了解事故应急处理措施，知悉自身在安全生产方面的权利和义务。未经安全生产教育和培训合格的从业人员，不得上岗作业。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第四十一条第一款</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位应当建立安全风险分级管控制度，按照安全风险分级采取相应的管控措施。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第二款</font>:</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >生产经营单位应当建立健全并落实生产安全事故隐患排查治理制度，采取技术、管理措施，及时发现并消除事故隐患。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第四十四条第一款</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位应当教育和督促从业人员严格执行本单位的安全生产规章制度和安全操作规程；并向从业人员如实告知作业场所和工作岗位存在的危险因素、防范措施以及事故应急措施。</font></span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第四十五条</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：生产经营单位必须为从业人员提供符合国家标准或者行业标准的劳动防护用品，并监督、教育从业人员按照使用规则佩戴、使用。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >[4]《楚雄州农业农村行业安全生产畜牧兽医专项行动实施方案》（楚农通〔2023〕46号）：二、排查范围，全州在农业农村部直联直报系统备案管理的畜禽养殖场（户），规模养殖户、养殖大户、畜禽养殖专业合作社、家庭农场。三、排查内容。（二）粪污处理设施。1.重点排查养殖场的粪污处理设施的安全生产规范制度是否上墙，是否张贴在明显位置；是否组织对从业人员开展安全生产教育培训。2.重点排查粪污收集池设施是否符合沼气安全技术规范，出料口是否安装防护设施、警示标识，排查粪污处理设施是否正常运行，是否存在沼气中毒风险隐患情况。3.重点排查使用沼气农户和养殖场（户）是否知晓“严禁擅自打开并进入沼气池、化粪池等密闭场所作业”等安全常识和安全知识普及、告知等情况。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >事故的发生负有安全监管责任。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）地方党委政府</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市仁兴镇党委、镇人民政府压实安全生产监管责任还存在差距，履行属地安全管理责任不到位。对近年来快速发展规模化畜牧养殖企业缺乏安全、技术、标准的支撑和有效的管理手段，督促、指导畜牧养殖企业隐患排查治理不到位。禄丰市仁兴镇党委、镇人民政府对事故的发生负有属地监管责任。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >五、对责任人员和有关责任单位的处理建议</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）对事故有关责任人员的处理建议</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1. 因在事故中死亡免予追究责任的人员。</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >曲</font>XX、刘X、汤XX 3名作业人员对事故的发生负有直接责任，鉴于3人已在事故中死亡，不再追究其相关责任。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2. 建议将涉嫌犯罪的李X、李XX移送司法机关处理。</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >3. 建议将有关的9名公职人员移送纪委监委调查处理。</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）对事故有关责任人员和责任单位的行政处罚建议</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >1.建议对事故责任人员古XX依法给予行政处罚。</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" >2.建议对事故责任单位比米农牧科技（禄丰）有限公司依法给予行政处罚。</span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）其他处理意见</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >[12]《中华人民共和国安全生产法》</span><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >第一百一十四条</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >：发生生产安全事故，对负有责任的生产经营单位除要求其依法承担相应的赔偿等责任外，由应急管理部门依照下列规定处以罚款</font>:（二）发生较大事故的，处一百万元以上二百万元以下的罚款；</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >1.仁兴镇党委落实安全生产责任制不到位，履行属地责任、监管责任不力，对事故的发生负有属地监管责任。建议责成仁兴镇党委向禄丰市委作出深刻书面检查。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2.仁兴镇人民政府落实安全生产责任制不到位，履行属地责任、监管责任不力，对事故的发生负有属地监管责任。建议责成仁兴镇人民政府向禄丰市人民政府作出深刻书面检查。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >3.禄丰市农业农村局履行行业安全管理职责不力，对事故的发生负有安全监管责任。建议责成禄丰市农业农村局向禄丰市人民政府、州农业农村局作出深刻书面检查。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >4.禄丰市人民政府对安全生产监管责任压的不实，对县级相关部门履行安全生产监管职责督促、指导不到位，对事故的发生负有领导责任。建议责成禄丰市人民政府向楚雄州人民政府作出深刻书面检查。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >六、事故主要教训</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）贯彻落实安全发展理念不牢、源头把控失守。地方党委政府贯彻落实安全发展理念不牢，安全生产监管责任压的不实，对近年来快速发展规模化畜牧养殖企业缺乏安全、技术、标准的支撑和有效管理手段，开展畜牧养殖企业隐患排查治理不到位，源头把控失守。农业行业管理部门贯彻落实安全发展理念不牢，风险分析研判缺失、隐患排查治理不到位，执法检查、日常监管不到位。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）生产经营单位安全生产主体责任落实不到位，安全生产培训教育缺失，隐患排查治理不到位。比米农牧科技（禄丰）有限公司安全生产主体责任落实不到位。公司未建立健全落实本单位全员安全生产责任制，主要负责人和安全生产管理人员不具备与本单位所从事的生产经营活动相应的安全生产知识和管理能力。未建立安全风险分级管控制度，未建立落实生产安全事故隐患排查治理制度。未按照《禄丰市规模养殖场安全生产责任书》规定开展粪污处理安全排查，排污管检查井口未安装防护设施和安全警示标识，未建立排污管检查井安全技术规范。</font>2023年以来，公司对从业人员安全生产宣传、教育、培训不到位。未教育和督促从业人员严格执行本单位的安全生产规章制度和安全操作规程，并向从业人员告知作业场所和工作岗位的危险因素、防范措施以及事故应急措施，作业人员未佩戴劳动安全防护用具进入有毒有害有限空间违章作业，盲目施救，导致事故发生和扩大。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >七、事故整改和防范措施</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（一）树牢安全发展理念，严格落实安全监管责任。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市要认真学习贯彻习近平总书记关于安全生产系列重要论述，坚持</font><font face=3D"宋体" >“人民至上、生命至上”理念，树牢“红线”，筑牢“底线”，强力扭住防范重大风险、遏制重特大事故这个“牛鼻子”，充分认识防范化解重大安全风险的重要性，从“根本上消除事故隐患，从根本上解决问题”，真正扛起安全生产的政治责任。要深刻汲取事故教训，严格落实“党政同责、一岗双责、齐抓共管、失职追责”要求，深入分析本地区安全生产存在的问题和薄弱环节，认真研究落实安全生产工作措施，严格落实领导责任、属地责任、监管责任和主体责任，聚焦重点领域，从严加强监管，抓好重大事故隐患专项排查整治2023行动，坚决遏制各类安全事故发生。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（二）深入开展安全生产专项执法检查。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市要认真汲取事故教训，举一反三，在全市范围内开展安全生产专项执法检查。重点对建筑施工、道路交通、矿山、危化品、自建房、城镇燃气、旅游、消防、农业畜牧等重点行业领域开展重大事故隐患专项排查整治，对检查中发现存在安全生产非法违法行为的企业要精准执法，坚决落实顶格处罚，停产整顿、关闭取缔等措施，全力遏制事故高发势头。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（三）认真整改问题隐患。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >比米农牧科技（禄丰）有限公司要建立健全并落实全员安全生产责任制，加强安全生产标准化建设。要组织制定并实施安全生产规章制度和操作规程、安全生产教育和培训计划，保证从业人员具备必要的安全生产知识，熟悉有关的安全生产规章制度和安全操作规程，掌握本岗位的安全操作技能，了解事故应急处理措施，知悉自身在安全生产方面的权利和义务；未经安全生产教育和培训合格的从业人员，不得上岗作业。要在有较大危险因素的生产经营场所和有关设施、设备上，设置明显的安全警示标志和防护设施。组织建立并落实安全风险分级管控和隐患排查治理双重预防工作机制，督促、检查本单位的安全生产工作，及时消除生产安全事故隐患。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（四）深刻吸取事故教训，举一反三抓实问题整改。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市仁兴镇党委、镇人民政府要在深刻吸取事故教训，举一反三，抓实问题整改。要分析排查本辖区安全生产重点行业和领域，建立安全生产分级管控和隐患排查治理双重机制，采取有效管控措施进行安全监管。对隐患问题建立整改销号清单，明确整改单位、责任领导、责任人和整改时限。要抓住重点时段和关键时间节点，加大督查检查力度，确保不留死角、不留盲区，有效防范和遏制各类生产安全事故，确保人民群众生命财产安全。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（五）加强养殖场企业安全生产监管工作。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市农业农村局要切实采取强有力措施，认真落实楚雄州农业行业安全生产畜牧兽医专项行动工作，强化养殖场企业的安全管理和安全教育培训、隐患排查整治工作。要以重大事故隐患专项排查整治</font>2023行动为契机，全面开展“打非治违”工作，及时化解农业行业重大隐患和问题。</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  style=3D"mso-pagination:widow-orphan;" ><b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-weight:bold;

=20font-size:12.0000pt;mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >（六）加强宣传教育，营造安全生产良好氛围。</font></span></b><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >禄丰市要加大《中华人民共和国安全生产法》等有关法律法规的宣传力度，建立完善安全教育宣传长效工作机制。要采取多种形式，加强对农业行业企业安全教育宣传，尤其是针对规模化畜禽养殖企业等重点单位、重点人员开展一次警示教育，进行全方位的安全宣传工作。</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  align=3Dright  style=3D"mso-pagination:widow-orphan;text-align:right;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><font face=3D"宋体" >楚雄州政府事故调查组</font></span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p><p class=3Dp  align=3Dright  style=3D"margin-top:5.0000pt;margin-right:0.0000pt;margin-bottom:5.0000pt;

=20margin-left:0.0000pt;mso-margin-top-alt:auto;mso-margin-bottom-alt:auto;

=20mso-pagination:widow-orphan;text-align:right;" ><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" >2023年12月11日</span><span style=3D"mso-spacerun:'yes';font-family:宋体;font-size:12.0000pt;

=20mso-font-kerning:0.0000pt;" ><o:p></o:p></span></p></div><!--EndFragment--></body></html>

------=_NextPart_000_0076_01C29953.BE473C30

Content-Type: application/octet-stream;

Content-Transfer-Encoding: base64

Content-Location: file:///C:/Users/yueli/AppData/Local/Temp/~tmp{abaf36da-5fd5-40f6-97c1-404e1d06548a}133252.files/filelist.xml

PD94bWwgdmVyc2lvbj0iMS4wIiBlbmNvZGluZz0iVVRGLTgiIHN0YW5kYWxvbmU9InllcyI/Pg0K

PHhtbCB4bWxuczpvPSJ1cm46c2NoZW1hcy1taWNyb3NvZnQtY29tOm9mZmljZTpvZmZpY2UiPjxv

Ok1haW5GaWxlIEhSZWY9Ii4uL350bXB7YWJhZjM2ZGEtNWZkNS00MGY2LTk3YzEtNDA0ZTFkMDY1

NDhhfTEzMzI1MiIvPjxvOkZpbGUgSFJlZj0iZmlsZWxpc3QueG1sIi8+PC94bWw+

------=_NextPart_000_0076_01C29953.BE473C30--